The following messages form part of a wider ranging discussion on the Yahoo Microscope group during February 2004. Discussion point was the (im)possibility of seeing fine diatom details with objective lenses that theoretically do not permit seeing such fine details.

Already by 1860 diatom structures had been described that were below the resolution limit of the (dry) optics available at the time; my interest in this was whether water or oil immersion lenses could have been used for these observations, as immersion can increase aperture to a higher level then possible with dry objectives (and hence can achieve higher resolution).

Mervyn Hobden and James Solliday described the development of the high NA lenses, culminating in the famous 1/10” Tolles lens, which even by today’s optical standards is hard to beat. This objective closed a notorious discussion between two schools of microscopists about whether immersion of the lens with water or oil could indeed increase resolution by having a larger aperture then a dry objective.

This discussion became known as ‘the battle of the apertures’.

Many thanks to Merv and James for their time in this fruitful discussion and to Aubrey Scoon for the ‘impossible’ image of Frustulia rhomboides.

The archives of the Yahoo Microscope group can be reached at http://groups.yahoo.com/group/Microscope/

Image courtesy of Aubrey Scoon, used with permission. Frustulia rhomboides, the striae lines ca 300 µm apart. Image taken with a 0.8NA objective lens, which theoretically only permits details more then 380 µm apart to be resolved.

Message 14525

From:  "ascoonuk" <ascoon@p...>

Date:  Sat Feb 14, 2004  4:43 pm

Subject:  Diatom Pics

Hello All,

I've just uploaded some diatom pics to my briefcase, they are in the

folder called "High Res". The briefcase link is:

http://uk.f2.pg.briefcase.yahoo.com/ascoonuk

There are 3 images of Frustulia rhomboides, the slide is a Kemp Test

slide (the 8 form one).

What is interesting about these is the setup used to take the pics.

They were taken on my Zeiss (Jena) Epival, using a Jena 0.9NA turret

phase condenser (in the passthrough position, no annuli), upper lens

set about 8mm below the slide, and a 50X 0.8 NA metallurgical

objective. The light is a combination of normal light passed straight

through and a slightly oblique element mainly in the green band via a

Risley prism (approx 7.5 degrees off axis). The objective was used

dry, and the tube length was extended to push up the magnification.

Pictures were taken with my little Logitech webcam, which as you will

all note, needs some cleaning! :-)

The exact objective markings are Planachromat 50x/0,80 oo/0-C The

"oo" is the nearest I can get to an infinity sign!.

Unless I am seriously mistaken, the lines of F. rhomboides are

typically around 300nm apart. According to the Abbe formula these

pics are impossible, they are even impossible using the much more

liberal Nelson formula. Please work it out for yourselves.

I can't resolve Amphipleura pellucida with this setup (yet), but it's

extremely tricky to get even the pics that I did. The slightest

change in the Risley angle or lateral position throws it out

completely. I moved the prism after taking these pics and now I can't

even get it back! It was more luck than design that I managed to get

these. But I think it illustrates the point that under certain

special conditions, much more is possible in practice than mere theory

allows.

Anyone suffering from paradigm angst is strongly advised to turn away

now, breathe deeply into a paper bag and keep repeating, "It's just an

artifact, it's just an artifact...."! :-)

Best wishes

Aubrey

Message 14542

From:  "mervhob" <heather.hobden@n...>

Date:  Sat Feb 14, 2004  10:15 pm

Subject:  Re: Diatom Pics

Dear Aubrey,

No, they are no artifact, nor do they break any laws of physics. The

stria on Rhomboides are, according to my 1862 copy

of 'Carpenter',vary between 111 - 60 stria in 1/1000 inch. This

translates to 228nm - 300nm. Just a minute, 1862? - that is long

before Abbe and homogeneous immersion! Ere, and the cheeky soul also

claims to have resolved Amphipleura pellucida - 130 - 120 stria per

1/1000 inch! Well, that is under 200nm. And with an NA that could not

be greater than 0.95. The conspiracy theorists in this group will now

propose that Sollitt, who made these measurements, invented a time

machine, nipped into the future and purchased a good Leitz/Zeiss NA

1.4 APO on ebay for his Powell and Lealand No. 1...... There is

alas, no mystery. Diatoms are three dimensional objects composed of

refractive material. The Abbe/Foucault limits only apply to the exact

conditions specified - two dimensional periodic array,infinitely

sharp transition, Fraunhofer illumination. However, the array does

not suddenly disappear for 1nm under the specified limit, the

perception gradually fades, the limiting perception is stated by

Francon as 0.08lamda/2nsinu. So, under the correct illumination

conditions, the perception of the stria is eminently feasible - as

you have demonstrated. Well done Aubrey! As I pointed out in an

earlier posting, it all hinges on what you mean by 'resolved'. We do

not 'resolve' the dots on Amphipleura pellucida - we perceive them as

a regular modulation of the interference diffraction pattern. This

will be dependent on the wavelength of the interfering light - if you

vary the wavelength, the pattern will fade and disappear. This I have

observed, using a monochronometer on Amphipleura pellucida, and

oblique illumination. Now this has all been stated, I daresay some

mathematician will crunch through the algebra, and get a Nobel Prize

for it. Some people might like to write out 1000 times - 'I must not

use the Abbe limits without understanding them.'

Very Best Regards - and that incudes everyone in this marvellous

group,

Merv

Message 14558

From:  "rvanwezel" <renevanwezel@h...>

Date:  Sun Feb 15, 2004  1:27 pm

Subject:  Re: Diatom Pics

Merv, please some more data:

When was the first water immersion build, and by whom? Was this before

oil immersion? I remember you mentioning 3 great builders, P&L,

Tolles and Hartnack. You mentioned Hartnack together with the date

1850's, but wasn't that a bit early?

Thanks, Rene

Message 14592

From:  "mervhob" <heather.hobden@n...>

Date:  Mon Feb 16, 2004  12:01 am

Subject:  Re: Rene request for Data -Diatom Pics

Rene,

Quoting E.M. Nelson, 1900, the first water immersion was brought to

London in 1855 by Prof. Amici. However, its aperture was no greater

than that of the high drys of the time - the P&L 1/16" had an NA of

0.99(175deg). This was followed by water immersions by Hartnack in

1862 - these were stated to be inferior to the P&L 1/25" dry with an

NA very close to 1.0(!). This could resolve Norbert's 15th band,

90,078 lpi, or 281nm. In 1869 P&L produced their first W.I.

objective, 1/16" which Col. Woodward used to resolve the 19th band,

112597 lpi, or 225nm. This was beaten in 1872 by Tolles W.I. with a

duplex front, which Woodward said beat all other objectives that he

had in his collection. The higher aperture W.I. objectives did not

start to appear until the 1870s, as it began to be appreciated, due

to Tolles, that the working aperture could be improved by this means.

This started the infamous 'Battle of the Apertures', in which Wenham

refused to accept that improvement was possible.

So it is extremely unlikely that Sollit and Harrison used a W.I. in

1862, in fact, we know that they did not - Carpenter states,

regarding the ability to see stria on Amphipleura pellucida, and the

doubts that had been expressed by Hendry and others, he himself is

convinced, 'having himself seen regular, distinct, and unmistakable

stria in this Diatom - through the kindness of Mr. Lobb who has shown

him this object with a 1/8" objective on Messrs Powell and Lealand's

large microscope with an achromatic condenser of 170deg.' I am

inclined to take Carpenter's word for this - as my friend Ted Brain

points out - 'Well, they just didn't know any better!'

Cheers,

Merv

Message 14599

From:  James Solliday <oldscope@y...>

Date:  Mon Feb 16, 2004  6:28 am

Subject:  History of the Immersion objective: Jim

All you every wanted to know about Immersion Objectives.

The story actually starts quite early when in 1678, Hooke gave his presentation,

"Lectures and Collections" which was published that same year in his

"Microscopium". Hooke was the first to suggest the technique of Immersion. He

writes: "that if you would have a microscope with one single refraction, and

consequently capable of the greatest clearness and brightness, spread a little

of the fluid to be examined on a glass plate, bring this under one of the

globules, and then move it gently upward till the fluid touches and adheres to

the globule". By 1812, Sir D. Brewster suggested immersion of the objective

into the liquid medium. Amazingly about that same time Amici began addressing

the problem of chromatic aberration (Woodruff, 1939).

By 1840, the first immersion lenses were made by Pro. Amici. According to

Mayall they were designed to be used with oils having the same refraction as

glass, homogeneous-immersion (Mayall, pp.1119) (The Northern Microscopist,

Vol.2, 82/307). This was not done with the conception of increasing the

apertures that revelation was left to Tolles. Amici's work was intended to get

more correction of the aberrations. However, the use of oil on expensive slides

was not readily accepted by the public, Amici gave up the oil system and adopted

water as the immersion fluid (Mayall, pp.1119). In 1853, Prof. Amici of Modena

constructed his first water immersion objective (W.G, Hartley, 1993). At the

1855 Paris Exposition, Amici introduced his water immersion objective. Nachet

Sr. and Hartnack were inspired to work out systems of their own (Mayall).

By 1858, Tolles made his first immersion objectives, with water, which had two

frontals. Tolles constructed objectives with two exchangeable front elements,

one for dry work and the other for water immersion (Three American Microscope

Builders, pp.38). In a meeting of the Boston Society of Natural History (1867),

Charles Stodder demonstrated a Tolles 1/10th objective, both dry and wet

(Warner, 1997). In August 1873, he made his famous homog. immersion 1/10th

(AMMJ,1884, pp.168).

In 1859, Edmund Hartnack first exhibited his water immersion objectives (W.G,

Hartley, 1993, pp.36/328). He also added the correction collar to the

water-immersion lens for the first time. Hartnack sold 400 of these lenses over

the course of the next five years.

By 1860, the following makers were producing (water) immersion objectives.

Nachet, Bruno Hasert in Eisenach (said to be as good as Hartnack's), C. Kellner

in Wetzlar, G&S Merz of Munich, Friedrich Adolph Nobert in Pomerania and Hugo

Schroder In Hamburg. In that same year, Pieter Harting compared a P&L 1/25th

dry objective with Hartnack's most powerful (water) immersion lens and found in

favor of the P&L. In 1862, Hartnack displayed his immersion objectives at the

London, International Exhibition. That same year Prazmowski joined Hartnack

(Paris), together they made substantial progress in the water immersion

objectives, thanks to Prazmowski's combination of theory and practical skills.

The result was that by the 1867 PARIS exposition, Hartnack's lenses were judged

the best (Mayall, pp.1119). Prazmowski was the former director of the

Observatory of Warsaw (Varsovie). In 1877 he continued the business of Mr.

Hartnack (Paris) who had been the successor to the celebrated factory

of Oberhaeuser (Trutat, Traité Élémentaire du Microscope 1883, pp.131).

In 1864, Pro. Hamilton L. Smith reported that "Messrs. Wales & Co. intend to

supply with their higher objectives an extra front for immersion in water", this

was a reference to William Wales. His best known objective was a 1/30th inch

made for the Army Medical Museum that Woodward used later to photograph

Amphipleura pellucida (RMS, June,1964, pp.125).

In 1865, Powell & Lealand were the first in England to make a water immersion

lens (W. Hartley, 1993, pp.31/36). Beale said that Powell made for him a 1/25"

immersion after the lead of Hartnack. See 1869. On Oct. 15th, 1865, Powell

delivered a 1/50" immersion objective to Lionel S. Beale (W.G. Hartley, 1993,

pp.31). In 1868 Powell undertook additional experiments with immersion systems

after Mayall showed him examples (objectives) produced by Hartnack (Mayall,

pp.1119). By 1869 Powell's immersion lenses were considered the best in the

field. He had made a few tenuous immersion lenses for Beale in 1865, which was

some time before he offered them to the general public.

In 1867, Gundlach showed his new glycerin immersion objectives at the Exposition

Universelle, Paris (1867), claiming "the first instance of the intentional

construction of objectives for use with an immersion fluid of higher refractive

index than water"(RMS, June,1964/124). Also at the 1867 PARIS Exposition,

Hartnack exhibited his improved water immersion objectives (Mayall). The

exhibit of Hartnack & Prazmowski surpassed all other entries for his new

immersion lenses. That year, Hartnack produced a water-immersion objective of

1/12th inch (No.9) & 1/21inch (No.12).

In 1867, Tolles made immersion lenses for glycerin as well, the 1/16th inch

immersion which resolved Nobert's 19th band, possibly for the first time.

Witnesses: Mr. R. C. Greenleaf and C. Stodder, Boston (AMMJ,1893, pp.303).

By 1870, Thomas Ross (at the suggestion of H. Van Heurck) began making water

immersion objectives. His 1/12th was well received but very expensive.

In 1871, Tolles demonstrated his homogeneous immersion objective using Canada

balsam as a medium. At the death of Mr. Tolles the editor of The Microscope,

Mr. Stowell received an account of the life of Tolles from Mr. C. Stodder,

Boston, Tolles business partner. Concerning the Tolles homogeneous objectives

he records, "This he demonstrated in 1871, but owing to the fact that at that

time Canada balsam was the only fluid known to possess the same refractive index

as crown glass, his discovery remained useless until 1877, when Prof. Abbe

discovered a fluid which was practical for such a purpose." (The Microscope,

1884, No.1, pp.5). However, attention was afforded Mr. Tolles on this concept

in 1873, with the production of his 1/10th immersion. In 1871, A public debate

began between Tolles and Wenham over the question of the aperture of immersion

objectives. The debate actually began with a disagreement between Dr. Pigott

and Wenham, drawing Tolles in with a challenge put out by

Wenham.

Hartley says that in 1871, Zeiss produced their first water immersion objective.

However, it is certain that in 1872, Zeiss introduced Abbe's water-immersion

objectives. The Zeiss catalogue offered 3 water immersion objectives, all

claiming an angular aperture of 180º. Described as follows: a 3mm, a 1.7mm and

a 1mm, all with an N.A. of 1.0. The No.3 (1.mm) came with a correction collar.

In August of 1873, Robert Tolles made a 1/10th inch objective for homogeneous

immersion in Balsam, having an aperture of 110 degrees or 1.25 n.a. (Three

American Microscope Builders, 1945)(AMMJ, 1884, pp.168) and being a three-system

lens. This represents the first publicly recognized true homogeneous immersion

system for the microscope (Bradbury, 1969) (JQMC, V.32, pp.294). The same month

he made his first lens of the duplex front formula, a 1/5th glycerin immersion

of 110° balsam angle (n.a. 1.27) (TAMB/38). Both passed into the possession of

the Army Medical Museum at Washington, both used in softened balsam (AMMJ,1884,

pp.168). In 1874 his formula and objective were sent to England for inspection

and submission in the Journal of the RMS. Earlier in 1873 he also made his

1/5th at N.A. 1.27 (duplex glycerine) and 1/10th at N.A. 1.27 (TAMB/38). This

was partly in response to Wenham's denial of the ability of immersion to effect

an angular aperture greater then 180° in air

(RMS, June,1964, pp.120).

Finally, by August of 1877, Zeiss produced Abbe's oil immersion objectives,

which became known as "homogeneous" immersion (Innovation, No.1, 1996). Mayall

says the date was 1878. However, a bit latter in 1879, Abbe published his paper

on Methods for Improving Spherical Correction in the RMS Journal (June). He

describes the fluid lenses used in his experiments (1873). He also states that

" homogeneous immersion system admits of a useful increase of aperture closely

approaching the ultimate limit which is imposed by the optical qualities of the

materials available" (RMS,1879, pp.824). As for the use to which these new

objective were applied, in 1882, Dr. Robert Koch described tuberculosis

(tubercle bacillus). He used a Zeiss oil objectives & Abbe's condenser. Koch

met with Abbe and suggested that he develop an achromatic condenser for use in

photomicrography. In 1904 the firm of Zeiss presented Dr. Koch with their

10,000th homogeneous 1/12 oil immersion objective. Koch had

enthusiastically attributed part of his success to the immersion lenses of Abbe

(Zeiss) (Innovation, No.1, 96).

Sincerely, Jim Solliday (MSSC).

Message 15142

From:  James Solliday <oldscope@y...>

Date:  Sun Feb 29, 2004  6:39 am

Subject:  The Aperture Wars, from Jim

Dear Rene:

Enclosed is a brief history of the aperture wars, a big part of the development

of the Immersion objective... Jim

The Aperture Wars

Research and notes by Jim Solliday

In 1871, a public debate began between Tolles and Wenham over the question of

the aperture of immersion objectives. The debate actually began with a

disagreement between Dr. Pigott and Wenham, drawing Tolles in with a challenge

put out by Wenham. The following quote is by Mr. Wenham, "I challenge Dr.

Pigott, or anyone, to get, through the object-glass with the immersion front, a

greater angle, or any portion of the extraneous rays that would in the other

case be totally reflected, as no object-glass can collect image-forming rays

beyond this limit" (The Monthly Microscopical Journal, V, 1871, pp.118). Much

of the early debate centered on a 1/10th and a 1/5th made by Tolles.

Eventually, Tolles sent a 1/6th inch lens to Mr. Frank Crisp having an extra

front lens intended for immersion (Mayall, Cantor Lectures (1886-88), pp.1119).

This famous lens was the subject of a great deal of correspondence lasting from

1874-1878. In 1878 Professor Keith computed the angular aperture of the

1/6th finding it to be of 110 degrees (RMS, 1878, pp.142). This evidence

finally settled the debate and completely vindicated Mr. Tolles. In America the

debate was known as "the war of the apertures." Throughout the debate, Mr.

Tolles was assisted by Dr. J.J. Woodward of Washington D.C., and by Prof. Keith

of Georgetown (H. Smith, pref.) (Also see, RMS, June 1964, pp.120).

A few events in the productive life of Tolles may help add reference to the

development of the homogeneous objective. In August of 1873, Robert Tolles made

a 1/10th inch objective for homogeneous immersion in Balsam, having an aperture

of 110 degrees or 1.25 N.A. (Three American Microscope Builders, pp.38)(American

Monthly Microscopical Journal, 1884, pp.168) and being a three system lens.

This represents the first true homogeneous immersion system for the microscope

(Bradbury, 1969, pp.245) (LM/36/39) (Journal of the Quekett Microscopical Club,

V.32, pp.294). The same month he made his first lens of the duplex front

formula, a 1/5th glycerin immersion of 110° balsam angle (n.a. 1.27) (TAMB/38).

Both passed into the possession of the Army Medical Museum at Washington, both

were intended for use in softened balsam (AMMJ, 1884, pp.168). In 1874 his

formula and objective were sent to England for inspection and submission in the

Journal of the RMS. This was partly in response to

Wenham's denial of the ability of immersion to affect an angular aperture

greater then 180° in air (RMS, June, 1964/120).

In 1874, Tolles requested Dr. J. Edward Smith of Cleveland, to report on a 1/6th

duplex of 180°. Dr. Smith confirmed the new lenses excelled all others

including higher magnifications such as the 1/15th. He then received a Tolles

1/10th "duplex" which was judged even better. Latter that year (1874) Dr. Smith

received a 1/10th from Mr. Herbert Spencer (different formula then the Tolles),

"the performance of which is not excelled by any glass yet made, be it a fifth

or a fiftieth". There is some doubt if Dr. Smith was using the Tolles in balsam

as intended. Tolles was to have added an emulsion agent to Canada Balsam that

inhibited its normal drying time.

Also in 1873, Tolles designed an instrument for measuring the aperture of his

objectives. He described it as "An apparatus for obtaining the balsam angle of

any objective" (The Monthly Microscopical Journal, 1873, pp.212). In 1874, Mr.

R. Keith published in the Monthly Microscopical Journal, proof of the expanded

aperture of the Tolles 1/10" objective. Tolles had described his 1/10th in Nov.

1873 along with its aperture. The significance of this debate was the fact that

an immersion objective could have a greater aperture than corresponds to the

maximum possible for a dry lens. With Tolles objectives the front lens was

immersed in balsam having a similar refractive index as the front element, thus

establishing a homogeneous system (Mayall, pp.1119). Tolles distinctly

understood the influence of the use of higher refractive media. By performing

tests, Dr. J.J. Woodward confirmed that "the definition unmistakably better than

with water immersion" (MMJ, XII, 1874, pp.127). Both

Professor Keith and Dr. J.J. Woodward gave a detailed computation of ray paths

through the Tolles balsam immersion 1/10th inch (RMS, June, 1964, pp.120). The

Zeiss oil-immersion lenses were not issued until 1878 (Mayall). As for who

first developed the "homogeneous-immersion formula" with the intention of

increasing aperture, Mayall says, "Mr. R.B. Tolles stands alone as the inventor"

(Mayall, Cantor Lectures (1886-88), Royal Society of Arts.).

As mentioned above, in addition to Dr. J. Edward Smith inspecting the Tolles

1/6th immersion, it was sent to England in 1874 and used to persuade the Society

in the debate with Wenham over the limits of aperture. The objective was owned

by Frank Crisp and mentioned in the RMS Journal of 1874. In 1878 Professor

Keith computed the angular aperture of the 1/6th finding it to be of 110 degrees

(RMS, 1878, pp.142). This evidence along with the endorsement of Prof. Stokes

(an English physicist) finally settled the debate (Three American Microscope

Builders, pub. by American Optical Company (1945).

In 1879, John Mayall, wrote that he tested the best objectives available. He

compared the Tolles 1/4th and 1/8th against the best lenses "by English, French,

and German opticians," including immersion objectives by the most renowned

makers in Europe. He concluded that, "without reserve of any kind, I say these

lenses (Tolles) are the finest I have ever seen." It was also said at the time,

"I find, on the most severe test, there is in Tolles' lenses a better correction

for spherical aberration" (How to See with The Microscope; 1885, edition, by J.

Edwards Smith, pp.11). The reputation of Tolles was by now so respected that it

let Dr. J. Edward Smith to say of Tolles, "who with almost superhuman genius and

energy grapples with the very laws of optics, and bends them to his inflexible

will" (H. Smith, 1880).

Robert Tolles died on Nov 17, 1883 in Massachusetts hospital, Boston. After his

death, Charles X. Dalton took charge of Boston Opt. Works (1883-95). He was

known to continue making microscopes but with his signatures hidden. Dalton was

a workman for Tolles doing his brass work (RMS, June, 1964, pp.124).

Even though Robert Tolles prevailed in the Aperture Wars, his rival Wenham was

no slouch. It is only fair that a few good words be said of him and his

considerable contributions to microscopy. Francis Wenham lived between the

years of 1824-1908; he was born in Kensington, London. His greatest

contribution to England was his influence on the development of the steam

engine. However, in microscopy he was known to have made many of his own

objectives as well as for others. He developed a number of binocular prism

designs beginning in 1853 to his most common and well know in 1860. By 1855

Wenham suggested that the correction collar act on the rear elements of the

objective thus perfecting the system and being the form that survives to this

day. Until then the Ross system of moving the front element was used.

In 1850 Wenham rediscovered Goring's idea of using a single front element in

British objectives. French opticians had been acting on the idea for sometime.

It was originally Dr. Goring who realized that over-correction was a problem and

suggested that the first element be a single lens instead of the usual compound

element. This would allow the excess correction of the back combination to

balance the whole. Most British firms continued making front doublets for some

time.

In 1851, Wenham designed his metal paraboloid for dark-ground illumination

(first form) (LM/245). L. Martin uses the year of 1850 for Wenham's Paraboloid

design. Wenham’s paper on the subject was published in the Transactions in

1852; however, Smith & Beck manufactured one for the Great Exhibition in 1851

(JQMC, V.32, pp.290).

In 1853, Wenham presented his first paper "On the Application of Binocular

Vision to the Microscope"(Trans. Micro. Soc, Lond. 1-13, 1854). Smith & Beck

constructed the first stand using this system. This was the beginning of a

number of designs using a refraction achromatic bi-prism, the last of which came

in 1860. This final form consisted of a rhomboid prism, which reflected the

rays from half the objective aperture into a side tube. This arrangement was

known as the Wenham binocular and lasted for over a half century. Certain

British makers continued to make the system until 1939 (LM, Hartley, 1991).

In 1870, following the death of Thomas Ross, Francis Wenham was persuaded to

join the firm as adviser (Ross & Co.) (1870-1882). He redesigned the Ross

bar-limb with the Jackson Limb and eventually used the Zentmayer horizontal

lever with its second slide as the fine adjustment (Ross Zentmayer). Wenham

also designed the famous Ross Radial Microscope of 1882 (LM/36). Earlier in

1875 he had written an article on the benefits of oblique illumination with high

power objectives. In 1877, Wenham took out patent No.496 for an “Object stage

for Microscopes” designed to facilitate oblique lighting, a preoccupation which

led to his new radial design of 1882.

At this point in his life and after the humiliation of the aperture war it was

said that he gave up microscopy and never talked to any member of the

Microscopical Society again. J. Solliday

Brief History of Robert B. Tolles (American Microscope Maker)

For those who might be interested in a little history I have put

together a few notes of interest concerning one of my favorite

historical figures. The information is primarily arranged by date.

References are listed at the end. Jim Solliday

1821-83. Life of Robert B. Tolles, American microscope maker and

optician (Transactions, Am. Microscopical Society, Vol.98, No.1,

1979, pp.15). According to Dr. Cutter of New York (a contemporary),

Tolles was born in West Winstead, Conn., in Sept 1827

(AMMJ,1893/302), but this is likely a typo as it should have read

1821. A biographical account was included in the 1884 report of the

American Society of Microscopists, this also being published in the

American Monthly Microscopical Journal, Vol.V, Sept, 1884, No.9,

pp.167. Here the location of his birth is listed at Winchester,

Litchfield County, Conn. and his age was stated as 62 years. Tolles

apprenticed with Charles Spencer in Canastota, he remained with

Spencer until 1858, when he started his own business in a small loft

in Canastota (AMMJ,1884/167). After moving to Boston in 1866-67, was

first to make homogenous lens (1871) (AMMJ,1884/10). Began the

Boston Optical Works in conjunction with Mr. Charles Stodder in 1867-

68 and worked making objectives & stands until his death on Saturday

17th, November 1883. Mr. Oscar Richards of the American Optical

Company give the date of Tolles birth to be 1821 to 1883

(R,June,1964/124). In Three American Microscope Builders the date is

given as 1822 with the Winchester location, however, in Padgitt the

date is 1832 with the Winsted location. I tend to go with the

contemporary authors. His long time business partner Mr. Charles

Stodder passed away a few week after Mr. Tolles in January 1884 at

the age of seventy-five (TMB,1884/No.2/9). Stodder was also a well

know diatomist.

1840, First immersion lenses made by Pro. Amici. According to Mayall

they were designed to be used with oils with the same refraction as

glass, homogeneous-immersion (MA/1119) (The Northern Microscopist,

Vol.2, 82/307). This was not done with the conception of increasing

the apertures, that revelation was left to Tolles. Amici's work was

intended to get more correction of the aberrations. However, the use

of oil on expensive slides was not readily excepted by the public,

Amici gave up the oil system and adopted water as the immersion fluid

(MA/1119).

1843, The year that Robert Tolles was returning from a visit with his

uncle near Rochester and on his way home he stumbled into the shop of

Spencer in Canastota. On that day he decided he wanted to be an

optician. He made arrangements with Spencer for an apprenticeship

(1852) and remained with him until 1858 (Three American Microscope

Makers).

1855, Tolles "Holosteric" or solid eyepiece. Robert Tolles invented

same while working for Spencer. The patent date is Sept 25, 1855,

U.S. Pat. No.13603. (Date is stamped on the actual eyepiece). The

solid eyepiece was manufactured much like the Coddington lens. The

idea was to eliminate as many optical surfaces as possible. This was

thought to be of value for the high powered eyepieces, including

magnifications of 20X, 80X and even 120X (LM/53).

1857-8, Robert B. Tolles began working for himself after an

apprenticeship with Charles Spencer. He began in a small loft in

Canastota (RH/18). At first he primarily made telescopes. He

continued in Canastota until 1866-67 at which time he moved to Boston

where he took charge of the Boston Optical Works, at 66 Milk St. He

now was associated with a partnership that included Charles Stodder

and several other Boston businessmen. In 1872 this partnership was

dissolved leaving Tolles to continued the work at the BOW until his

death in 1883. It seem that C. Stodder continued to handle the

business end of the works, leaving Tolles free to experiment and

build instruments. By the mid 1870's (ca.1876) the new address was

at: Charles Stodder, Rialto, Room 36, 131 Devonshire Street, Boston.

1858, Tolles constructed objectives with two exchangeable front

elements, one for dry work and the other for water immersion

(TAMB/38) (AMMJ,1884/168). In a meeting of the Boston Society of

Natural History (1867), Charles Stodder demonstrated a Tolles 1/10th

objective, both dry and wet (RI,97/88). In August 1873, he made his

famous homog. immersion 1/10th (AMMJ,1884/168).

1859, Robert B. Tolles, at Canastota, Madison Co., N.Y. ran ad in J.

King (1859) for his "adjustment for thin glass covers" in his

objectives. He offered his 1/8th with an angle of aperture up to

175°. He offered higher powers up to 1/30 inch. under special

contract. He also advertised his Solid Eye-piece (negative of large

field). Advertised his amplifier, which not only doubled the power

but also provided "perfect flatness of field"(J. King, ad, 1859).

1864, Tolles constructed his erecting stereoscopic binocular eyepiece

for Prof. H.L. Smith of Geneva, N.Y. (MMJ,Vol,6. July 1871/46).

Carpenter (4th,ed) and Padgitt say the date was 1866 (HAM/57)

(Hartly,LM/53/121). The date is 1864, the confusion arises do to the

fact that Prof. Smith exhibited the Tolles eyepiece in London,

Carpenter assumed it was of Smith's making. This design was copied

by a German maker and sold as his own invention (AMMJ,1893/303).

1866, Tolles patented a binocular adapter for monocular microscopes

(U.S. patent No.56125). The eyepiece could also be used on the

telescope. At the time he was still in Canastota (SMMA, No.23,

1995).

1866, Tolles first applied a small prism within an objective creating

a New type of Vertical Illuminator (AMMJ,1893/303) (AMMJ,Vol 3/78).

One of the first made was for Prof. R. K. Browne.

1867, Robert B. Tolles moved from Canastota to Boston where he along

with Stodder opperated the Boston Optical Works. Charles Stodder and

several other Boston businessmen offered Tolles a partnership if he

would move his business to Boston (Scientific Medical & Mechanical

Antiqu./No.23, 1995). Other accounts state that Stodder and his

investors made Tolles the superintendent of the business

(R,June,1964/124), the date is sometimes given as 1866.

1867, Tolles began making his large "A" and "B" stands. Dr. J.E.

Smith referred to the "B" as the "BB" stand. It was provided with

two types of mechanical stage the first with coaxial screws and the

second operated by friction rollers, having 360° rotation on the

optical axis, the later stage costing more money (HS/48). Dr. J.E.

Smith says the stands by Tolles "may be unhesitatingly pronounced

first-class. The workmanship is of the very highest order: the

circular stage can be so nicely adjusted as to allow of an entire

revolution, under a one-twenty-fifth objective, without the object

being sensibly displaced. Any thing that Mr. Tolles makes is sure to

be made well"(HS/48). Dr. Smith's remarks coming in 1880.

1867, Tolles made immersion lenses, probably glycerin or water. In

1867 he made a 1/16th inch immersion that resolved Nobert's 19th

band, possibly for the first time. Witnesses: Mr. R. C. Greenleaf

and C. Stodder, Boston (AMMJ,1893/303).

1870, Dr. George B. Harriman, a dentist, needed to demonstrate the

presence of nerves in teeth. In 1870, he commissioned Robert B.

Tolles to design and produce an appropriate objective for the task.

About three years later Tolles delivered an objective having an

equivalent focus of 1/75th inch, approx. 0.3mm. The price was $400.

Some experts of the time suggested that such a short focal length was

impossible, however, the Tolles objective achieved all that Dr.

Harriman expected. Sometime later, the next owner, Dr. Ephraim

Cutter made a point of demonstrating its capabilities in Europe and

America, using the lens for microprojection on a screen 25 feet

square (BJM, 1965/V.14/472).

1871, Tolles demonstrated his homogeneous immersion objective using

soft Canada balsam as a medium. At the death of Mr. Tolles the

editor of The Microscope, Mr. Stowell received an account of the life

of Tolles from Mr. C. Stodder of Boston, Tolles business partner.

Concerning the Tolles homogeneous objectives he records, "This he

demonstrated in 1871, but owing to the fact that at that time Canada

balsam was the only fluid known to possess the same refractive index

as crown glass, his discovery remained useless until 1877, when Prof.

Abbe discovered a fluid which was practical for such a purpose." (The

Microscope, 1884, No.1, pp.5). However, attention was afforded Mr.

Tolles on this concept in 1873, with the production of his 1/10th

immersion.

1871, A public debate began between Tolles and Wenham over the

question of the aperture of immersion objectives. The debate

actually began with a disagreement between Dr. Pigott and Wenham,

drawing Tolles in with a challenge put out by Wenham. The following

quote is by Mr. Wenham., "I challenge Dr. Pigott, or anyone, to get,

through the object-glass with the immersion front, a greater angle,

or any portion of the extraneous rays that would in the other case be

totally reflected, as no object-glass can collect image-forming rays

beyond this limit" (MMJ,V,1871/118). Much of the early debate

centered around a 1/10th and a 1/5th made by Tolles. Eventually,

Tolles sent a 1/6th inch lens to Mr. Frank Crisp having an extra

front lens intended for immersion (MA/1119). This famous lens was

the subject of a great deal of correspondence lasting from 1874-

1878. In 1878 Professor Keith computed the angular aperture of the

1/6th finding it to be of 110 degrees (R,78/142). This evidence

finally settled the debate and completely vindicated Mr. Tolles. In

America the debate was known as "the war of the apertures."

Throughout the debate, Mr. Tolles was assisted by Dr. J.J. Woodward

of Washington D.C., and by Prof. Keith of Georgetown (HS/pref/11)

(also see, R, June,1964/120).

1872, Partnership of Tolles and C. Stoddar ceased, Tolles then

continued on his own until his death. According to Hagelstein,

Tolles worked under the name of the Boston Optical Works until 1871

when it was thought best to continue again under the name of Tolles

(RH/18). It is possible that C. Stoddar continued to sell Tolles

stands under the name of the Boston Optical Works as he was

considered sole agent of Tolles.

1873, In August of 1873, Robert Tolles made a 1/10th inch objective

for homogeneous immersion in Balsam, having an aperture of 110

degrees or 1.25 n.a. (TAMB/38)(AMMJ,1884/168) and being a three

system lens. This represents the first true homogeneous immersion

system for the microscope (B/245) (LM/36/39) (JQMC, V.32/294). The

same month he made his first lens of the duplex front formula, a

1/5th glycerin immersion of 110° balsam angle (n.a. 1.27) (TAMB/38).

Both passed into the possession of the Army Medical Museum at

Washington, both used in softened balsam (AMMJ,1884/168). In 1874

his formula and objective were sent to England for inspection and

submission in the Journal of the RMS. In 1873 he also made his 1/5th

at N.A. 1.27 (duplex glycerine) and 1/10th at N.A. 1.27 (TAMB/38).

This was partly in response to Wenham's denial of the ability of

immersion to effect an angular aperture greater then 180° in air

(R,June,1964/120).

1873, In 1873-74, R.B. Tolles produced his "Duplex" or four-system

objective glasses, the first example being an immersion lens in

glycerine, a 1/5th (TAMB/38). In 1874, Tolles requested Dr. J.

Edward Smith of Cleveland, to report on a 1/6th duplex of 180°

(HS/pref.). Dr. Smith confirmed the new lenses excelled all others

including higher magnifications such as the 1/15th (HS/pref./110).

He then received a Tolles 1/10th "duplex" which was judged even

better. Latter that year (1874) Dr. Smith received a 1/10th from Mr.

Herbert Spencer (different formula then the Tolles), "the performance

of which is not excelled by any glass yet made, be it a fifth or a

fiftieth" (HS/110). There is some doubt if Dr. Smith was using the

Tolles in balsam as intended.

1873, Tolles designed an instrument for measuring the aperture of his

objectives. He described it as "An apparatus for obtaining the

balsam angle of any objective" (MMJ,73/212).

1874, Mr. R. Keith published in the Monthly Microscopical Journal,

proof of the expanded aperture of the Tolles 1/10" objective. Tolles

had described his 1/10th in Nov. 1873 along with its aperture. The

significance of this debate was the fact that an immersion objective

could have a greater aperture than corresponds to the maximum

possible for a dry lens. With Tolles objectives the front lens was

immersed in balsam having a similar refractive index as the front

element, thus establishing a homogeneous system (MA/1119). Tolles

distinctly understood the influence of the use of higher refractive

media. By performing tests, Dr. J.J. Woodward confirmed that "the

definition unmistakably better than with water immersion"

(MMJ,XII,74/127). Both Professor Keith and Dr. J.J. Woodward gave a

detailed computation of ray paths through the Tolles balsam immersion

1/10th inch (R,June,1964/120). The Zeiss oil-immersion lenses were

not issued until 1878 (MA/1120). As for who first developed

the "homogeneous-immersion formula" with the intention of increasing

aperture, Mayall says that "Mr. R.B. Tolles stands alone as the

inventor" (MA/1120).

1874, Tolles 1/6th immersion objective, sent to England and used to

persuade the Society in the debate with Wenham over the limits of

aperture. The objective was owned by Frank Crisp and mentioned in

the RMS Journal of 1874. In 1878 Professor Keith computed the

angular aperture of the 1/6th finding it to be of 110 degrees

(R,78/142). This evidence along with the endorsement of Prof. Stokes

(an English physicist) finally settled the debate (TAMB/47).

1877, In 1877 Tolles applied for a patent for his Traverse Sub-stage

(RMS,1880/1064) (U.S. Patent No. 198782 and 198783). This was an

apparatus for obtaining maximum oblique illumination. A

hemispherical lens comes in immersion contact with the slide, while a

condenser adjustable in a circular groove illuminates same

(MA/1102).

1877, Zeiss produced Abbe's oil immersion objectives, which became

known as "homogeneous" immersion (Innovation, No.1, 1996). Mayall

says the date was 1878 (MA/1119) (WU/175). Abbe stated that the oil

system was suggested to him by J.W. Stephenson (Treasure of the

RMS). However, Mayall confirms that the homogeneous-immersion system

was due to Robert Tolles and his use of soft balsam (MA/1119).

Warner states that the "oil immersion" objective was introduced in

March 1887 by Carl Zeiss (RI,97/88), introduced meaning available to

the public.

1879, John Mayall, wrote that he tested the best objectives

available. He compared the Tolles 1/4th and 1/8th against the best

lenses "by English, French, and German opticians," including

immersion objectives by the most renowned makers in Europe. He

concluded that "without reserve of any kind, I say these lenses

(Tolles) are the finest I have ever seen." He also stated, "I find,

on the most severe test, there is in Tolles' lenses a better

correction for spherical aberration" (HS/111).

1880, Dr. J. Edward Smith, said of R. Tolles, "who with almost

superhuman genius and energy grapples with the very laws of optics,

and bends them to his inflexible will" (HS/102).

1880, Dr. J. E. Smith, describes the Tolles "duplex" object-glasses

as "a four system immersion, as distinguished from the older form

having a single front" (HS/125). By 1880, Mr. Tolles and Spencer

were both making objectives of 120° balsam aperture (HS/125).

1882, E. Wheeler, 48, Tollington Rd, Holloway, N. was the London

Agent for R. B. Tolles (RMS/82/ad)

1883, Robert Tolles died, Nov 17, 1883 at Massachusetts hospital,

Boston. Charles X. Dalton took charge of Boston Opt. Works (1883-

95), after the death of Robert Tolles. He was known to continue

making microscopes but with his signatures hidden. Dalton was a

workman for Tolles doing his brass work (R,June,1964/124). J.

Solliday

Abbreviations and references:

(AMMJ)=The American Monthly Microscopical Journal (1880-1901). Edited

by Romyn Hitchcock.

(B)=Bradbury (1969)=The Evolution of the Microscope (1967)

(BJM)=The Microscope, The British Journal of Microscopy and

Photomicrography, Barron.

(HAM)=Short History of the Early American Microsocpes., Padgitt

(1975).

(HS)=How to See with The Microscope; (1885, edition) by J. Edwards

Smith.

(LM)=The Light Microsocpe, by W.G, Hartley (1993)

(MA)=Mayall's, Cantor Lectures (1886-88). Royal Society of Arts.

(MMJ)=The Monthly Microscopical Journal, Transactions of the RMS

(1869-1877).

(RH)=Robert Hagelstein, History of the Microscope, N.Y.M.S, Bulletin,

Vol.2, No.1, April 1944, pp.1-19.

(RI)=Rittenhouse., Journal of the American Scientific Inst.

Enterprise. Ed. D. J. Warner

(R) or (RMS)=Journal of the Royal Microscopial Society (1878 to the

present) (RMS).

(SMMA)=Scientific Medical & Mechanical Antiques, Greybird (American

Artifacts).

(TAMB)=Three American Microscope Builders, pub. by A O Company (1945).

(TMB)=The Microscopical Bulletin, Optician's Circular. James W.

Queen & Comp.

Dear Jim,

Thankyou for a truely excellent paper on Tolles. It is a remarkable

story, and only goes to show how careful you have to be what

you 'stumble' into - it can change your whole life! I have a number

of pieces written by Wenham in 'The English Mechanic and World of

Science' in the 1890s. If you would like a copy, I will .pdf them and

send them to you. I don't know if I can post .pdfs to this site, but

if you contact me on my work e-mail, mervyn_hobden@d..., I

will send them direct. I have forwarded a copy of your piece to the

owner of the Tolles 1/10", and I hope to be able to take some more

pictures through it shortly. I also hope to be able to post some

pictures taken with early Zeiss, Leitz, water immersion objectives,

and a Spencer APO NA 1.4 homogeneous. My own opinion is that the best

objectives of the 19th century are difficult and expensive to equal

today. Even Olympus have their APOs assembled in South China, where

skilled labour is still cheap. Also, to get the best out of these

objectives, you need a microscope with a draw tube, as well as a

first class condenser. Not much use putting them on an 'Ultraphot'!

Thankyou again, to understand a subject fully, you need to know its

history, and you have demonstrated that very well.

Sincerely, Merv

TOLLES

Robert B. Tolles, was born 1822, 1823, or 1825 (various sources) in

Connecticut, and had little formal education.  Circa 1843, he was apprenticed

to Charles Spencer, and in 1858 established his own business in Canastota N.Y.

By 1859, he was fabricating microscopes with Charles E. Grunow (most likely a

relative of the Grunow brothers, microscope makers), who made the mechanical

parts while Tolles made the objectives.  An 1860 census notes three employees

and annual production of 6 microscopes ($600) and 68 objectives ($1778) by

Tolles.  An inverted microscope won a prize in 1860.

An 1859 advertisement for microscope objectives includes notes on telescopes

and his solid eyepiece.  Also described is an 'amplifier' that increases the

magnification of a microscope, provides a flat field, and reduces secondary

spectrum.  This was a concave / convex lens inserted into the bottom of the

microscope draw tube; not a Tolles invention but much improved by him.  In

1879, this amplifier was said to double the magnification of a particular

combination of objective and eyepiece without disturbing the corrections; and

that higher magnification amplifiers using a different design were also

available.  Carpenter describes the amplifier thus (excerpts): 'a concave lens

between the objective and the eyepiece, magnifying power augmented, long since

introduced into telescopes, first made effective (microscopes) by Mr. Tolles,

an achromatic concavo-convex lens behind the objective, the power of which it

doubles'.  Tolles' 1879 catalog lists an amplifier for telescopes, which would

be a Barlow or Smyth lens.

Tolles' solid eyepiece reduced glass / air surfaces to two by cementing two

planoconvex elements, and was used in telescopes and microscopes.  It was

patented by Tolles in 1855 (U.S. 13,603), although Spencer was part of its

development and also manufactured them, and August Stendicke, a German lens

maker for Tolles and Spencer, knew of previous similar designs.  The patent

does not cover all such cemented doublets, but only those with a focal plane

within the lens, at which point Tolles placed a reticle scale.  The patent can

be found at the USPTO site:     http://164.195.100.11/netahtml/srchnum.htm

The 1879 catalog lists the Tolles's Patent Solid Eye-piece in 1/2", 3/8", 1/4",

and 1/8" sizes at $8 and $12; and the Tolles's Solid Orthoscopic Eye-piece, 1

inch, with higher powers available, also useable as an achromatic condenser.

The major innovations of Tolles were in microscope optics.  He pioneered the

immersion objective (homogeneous, meaning the liquid media was of similar

refractive index to glass); and fabricated very short focal length objectives

(to 1/75 inch), & of very high numerical aperture, up to 180 degrees 'angle of

aperture'.  The correcting collar was developed by Tolles and Spencer, used to

correct spherical aberration introduced by differing thicknesses of cover

slips, using a ring on the barrel to move the center elements of the objective.

In 1866, Tolles developed a vertical illumination system, his 'interior

illuminator', that used a prism behind the front lens of the objective to

reflect light to the object.  He patented a swinging substage, that varied the

angle of illumination above or below the stage; and two other microscope

illumination patents are 198,782 and 198,783.

Some of his objectives were comprised of seven individual lenses.  Many

contemporary microscopists found his products to be the best in the world.

Tolles patented his binocular adapter in 1866, (U.S. Patent No. 56125),

priced at $80. in 1879, and sold for microscopes and also telescopes.  This is

an unusual symmetrical design, where the light from the objective enters a

small equiangular prism placed at focus, and is split by the prism into two

deflected beams, which are then made parallel by two trapezoidal deflecting

prisms.  Padgitt notes that Edmund Hartnack of Paris and Potsdam devised a

similar system at about the same time; and that Tolles' system was copied by

William Ladd and Abbe & Zeiss.

Circa 1864, Tolles made a small quantity of binoculars (no doubt Galilean

field glasses) for the U.S. Navy.  James M. Gillis of the Navy wrote that they

were superior to European models but not good enough.  This reference to an

otherwise completely unknown binocular is from a letter from Gillis to Alvan

Clark & Sons, noted in Warner & Ariail.

At an exhibition in Boston in 1865, Tolles displayed a telescope of 1 1/2

inches aperture, 4 1/2 inches focal length, with a binocular eyepiece providing

15 power, at $100.  In 1867 was shown a 7/10 inch aperture, 4 inch focal

length, 13x telescope through which the satellites of Jupiter could be viewed.

By 1869, he had completed a 1 inch f/4 and a 1.45 inch f/4.  These short focus

instruments were very unusual or unique in their time.  An instrument described

as a Tolles micro-telescope in 1870 was a 1 inch f/6 objective with a small

microscope used as an erecting eyepiece, and providing 40 or 50 power.

In 1867, Tolles moved to Boston as a partner in Boston Optical Works,

incorporated with $9,000 in shares, at 66 Milk St., then 131 Devonshire St,

Boston.  The company failed in 1871, at least partly because Tolles'

perfectionism was contrary to reasonable production schedules.  He retained the

company name, located at 40 Hanover Street, working mostly by himself, with

only a few employees, including John Green, Orlando Amos, O.T. May (son in law

of Charles Spencer), and Clarence Spencer (son of Charles Spencer).  Charles

Stodder had been selling Tolles' instruments since 1860, was treasurer of the

Works, and continued marketing Tolles' output.

The catalog: "Charles Stodder.....sole agent for the sale of Microscopes and

Telescopes made by R.B. Tolles", from 1879, includes the following telescopes:

--1/2 inch objective, solid eyepieces of 10x to 18x, 6.5 inches opened, $25,

$33 with stand, 'The Pedestrian's Telescope.'

--1 inch lens of 5 inch focus, pancratic eyepiece of 12x to 24x with higher

magnifications available, on stand, $70.

--2 1/2 inch lens, 22 to 27 inch focus, 23x to 46x pancratic eyepiece, alt / az

mount on iron tripod, $175; on engineers tripod $150;  with two astronomical

eyepieces to 130x, amplifier, prism diagonal, and sun glass, $250, 'The High

School Telescope'.

--4 inch lens, on iron tripod, $300.  Mentioned is a 4.1 inch of 42 inches

focal length, with an alt / az mount on an iron tripod.

--"Telescopes of any aperture, of unusually short focal length, made under

special contract"

The 1879 catalog includes a report from an 1869 exhibition in Boston, noting

that the Tolles binocular eyepiece can also be used in telescopes.  On exhibit

were a 5 inch refractor of 35 inches focal length, on an equatorial mounting,

with 80x and 160x eyepieces; a 1 inch pancratic telescope of 4 to 12 inches

focal length; and a 1 1/2 inch refractor of 6 inch focal length.  Telescopes

had been sold to Washington Academy, East Machias, Maine; Howland School, Union

Springs, N.Y.; and the High School in New Bedford, Mass.; various individuals

who were customers are also mentioned.

Also cited in the 1879 catalog is Benjamin Gould's 1871 report on viewing

15th magnitude stars from Cordoba, Argentina with his 5 inch f/7 tapered wood

tube, equatorial comet seeker.  He also arranged the purchase of another Tolles

telescope for the Argentine National Observatory, which he directed.  Gould

wrote in 1874 that he purchased his Tolles 'about a dozen years ago', and that

its field of 2 degrees allowed a view of the entire corona during the total

eclipse of 1869. "The telescope...has rendered important service in both

hemispheres."  He later presented it to Seth Chandler, his assistant, whose

descendants gave it to the National Museum of American History, where it is

catalog 80.709.1

Charles X. Dalton was an employee of Tolles in Canastota, and after Tolles'

death 17 Nov. 1883, returned to the business to continue production of

microscopes.  'Charles X. Dalton, successor to the late R.B. Tolles, Boston

Optical Works', located at 30 and 48 Hanover Street, Boston, advertised in

1895, selling Tolles objectives and Tolles triplet magnifiers in silver cases.

Currently, a 5 inch refractor with a 45 inch tube and a Huygenian eyepiece

is located in the planetarium of the University of Maine.

References:

Blackham, George. Memoir of Robert B. Tolles.  Proceedings of the American

Society of Microscopists (1884).  Reprinted in: Three American Microscope

Builders. Buffalo: American Optical Co., 1945.

Carpenter, William. The Microscope and its Revelations. N.Y.: William Wood,

1883.

Gage, Simon.  Microscopy in America 1830-1945.  Transactions of the American

Microscopical Society 83:4 (Oct. 1964), Supplement.

Larue, Budd. Robert B. Tolles and the Cone-Fronted Objective. Rittenhouse 12

(1998) 55-64.

Padgitt, Donald L.  A Short History of the Early American Microscopes.

Microscope Publications: London & Chicago, 1975.

Warner, Deborah Jean. The Microscopes and Telescopes of Robert B. Tolles.

Rittenhouse 9 (1995) 65-83.

Warner, Deborah Jean & Ariail, Robert B.  Alvin Clark & Sons, Artists in

Optics, 2nd ed. Richmond: Willman-Bell, 1995.

Van Vleck, Richard.  Robert B. Tolles, American Microscope Maker.

<www.americanartifacts.com/smma/tolles/tolles1.htm>

====================================